## By Dept
Priority Year | Department/Center | Location | Age | Size | Condition/Comments
1 | Biochemistry | 312B | 2003-07-18 | small | MF# AMSCO-3021; SN# R811570303; BCM Tag# 112621
1 | Biochemistry | 312B | 1993-11-24 | small | NOTE: Updated priority because the Dept wanted to purchase an additional. MF#AMSCO-3021-S; SN# 109FBG; BCM Tag# 100193 Not Operational; Steris Equipment
1 | CPEH | 1403.01 | N/A | medium/small | NOTE: One of the replacements for the Human Genome Center would be allocated to CPEH either shared or fully. CPEH doesn’t have any autoclavesand have been relying on other Depts/Centers and with some of the operational changes those dept/centers have been making
1 | Facilities | ABBR 4 | 2008 2022 | Large Small | ETC original - Controls for these are obsolete and spares are not available. 2022 Steris - recently replaced
1 | Facilities | ABBR 7 | 2008 2022 | Large Small | ETC original - Controls for these are obsolete and spares are not available. 2022 Steris - recently replaced
1 | Genetics | T912 | 2003 | small | The T912 unit has been quite problematic. It was installed by Facilities (not the manufacturer), and there are frequent plumbing issues. MN: 522LS. SN: 03E03941 Pacs 3000 --In operation with OEM Parts
1 | Human Genome Center | N1403.01 | 1999 X 2 | Large | They have 4qty of the Steris-Steam Sterilizer Autoclaves (the big ones on 14th floor) N1403.01. Only two of them are currently working/in use and have the preventative maintenance from US SteriLogic (Steve Caramante) which ends on 3/31/2023 and are renewing for FY2024.
1 | *MVM | 912 D | 1990s vintage | large | MN: E 3043-1 SN: 0123991-02 Not Operational - Steris Equipment
1 | *MVM | 225 A | 1990s vintage |  | MN:E 3021-1 SN: 0117690-12 Not Operational - Steris Equipment; Old not supported There are there also 3 sterilizers in 225A.
1 | *MVM | 225 A | 1990s vintage |  | MN: E 3021-1 SN: 0116590-03 In operation with OEM Parts - Steris Equipment
1 | *MVM | 225 A | 1990s vintage |  | MN: E 3021-1 SN: 0122790-07 In operation with OEM Parts - Steris Equipment
1 | *MVM | 816 D | 1990s vintage |  | MN: 133 LS SN: 680010 Pacs 2000 In Operation with OEM parts - Getinge Equipment; End of life not supported
1 | *MVM | 910 D | 2008 | medium | MN: 533 LS SN: 07K08180 Pacs 3000 In operation with OEM Parts - Supported
2 | Cell Biology | E159 x 2 |  | large | Both fairly old, and a glasswash. Not Operational; Steris Equipment; Old not supported
2 | Genetics | T610 | 10-20 years old | small | NOTE: Becky requested to Install in room T912 instead of T610. Getinge 522LS in T610 that is at least ten years old if not closer to twenty and another of the same model in T912 that was purchased in 2003. These break down fairly often, but are serviced regularly. MN: 533 LS SN: 06F06912 -- Pacs 3000 In operation with OEM Parts
2 | HCOA | N826 | warranty with Sterilogic back in 2014 | Large | MN# SG-120; SN#107498-09
2 | *MVM | 801 D | 1990s vintage |  | MN: 133 LS SN: 671918 Pacs 2000 In Operation with OEM parts Double Door - Getinge Equipment; End of life not supported
2 | *MVM | 912 D | 1990s vintage | large | MN: E 3043-2 SN: 0125291-04
*MVM: Additional details on second tab labeled MVM

## MVM
Department | Contact # | Type of Equipment | Manufacturer | Location | Status | Model Date | Age | Serial Number
Virology and Microbiology | 85243 | Autoclave | Amsco 3043 | 912D | In-Service | 1991 | 30 years | 12519104
Virology and Microbiology | 85243 | Autoclave | Getinge 3522 | 801D | In-Service | Refrubished 2006 | Rebuilt 15 years ago | 671918
Virology and Microbiology | 85243 | Washer | Amsco 570 | 912D | In-Service | 1991 | 30 years | 3627091241
Virology and Microbiology | 85243 | Autoclave | Amsco 3023 | 910D | Repair Pending | 1991 | 30 years | 11499102
Cell Biology | 85243 | Autoclave | Getinge 533LS | T712 | In-Service | 2008 | 13 Years | 07K08180
Virology and Microbiology | 85243 | Autoclave | Amsco 3041 | 912D | Repair Pending | 1991 | 30 years | 12399102
Virology and Microbiology | 85243 | Autoclave | Getinge 3533 | 816D | Repair Pending | Refrubished 2008 | Rebuilt 13 years ago | 680010
Virology and Microbiology | 84927 | Autoclave | Amsco 3023 | 225A | In-Service | 1990 | 31 Years | 0116590-03
Virology and Microbiology | 84927 | Autoclave | Amsco 3023 | 225A | In-Service | 1990 | 31 Years | 0117690-12
Virology and Microbiology | 84927 | Autoclave | Amsco 3023 | 225A | In-Service | 1990 | 31 Years | 0122790-07