5xFAD APPswe/fl/lon;PS1M146L/L286V

(July 2021)

These primers amplify the Tg (APPSwFlLon,PSEN1*M146L*L286V) 6799Vas transgene inserted on mouse chromosome 3 in the 5xFAD transgenic line. This assay is capable of distinguishing hemizygous from homozygous. This protocol was adapted from JAX protocol # 31769 (https://www.jax.org/Protocol?stockNumber=006554&protocolID=31769)

| Reagent | Volume/rxn (ul) |
| --- | --- |
| ddH2O | 10 |
| 2x PCR PreMix (Syd Labs, Cat. #: MB067-EQ2G-L) | 12.5 |
| 50(M Common Forward | 0.5 |
| 50(M Wild-type Reverse | 0.5 |
| 50(M Mutant Reverse | 0.5 |
| Tail DNA | 1 |

PCR Program: 5xFAD (ABI SimpliAmp)

- 94(C for 3 minutes

- A.  94(C for 30 seconds

B.  65(C for 30 seconds (0.5(C decrease per cycle)

C.  68(C for 45 seconds

D.  10 Cycles A-C (Touchdown)

- A.  94(C for 30 seconds

B.  60(C for 30 seconds

C.  72(C for 45 seconds

D.  28 Cycles A-C

4.   72(C for 5 minutes

5.    Hold at 4(C

Primer Sequences

Common Forward:  		ACC CCC ATG TCA GAG TTC CT

Wild-type Reverse:  		TAT ACA ACC TTG GGG GAT GG

Mutant Reverse:  	            CGG GCC TCT TCG CTA TTA C

Gel Percentage: 2% Agarose gel including 1/10,000 dilution of 10 mg/ml ethidium bromide (30 min at 200 V in 1xSB buffer)

Expected Products:  Transgenic homozygous animals should produce one band from the 5xFAD transgene product at approximately 129 bp. Heterozygous animals should produce the transgenic band at 129 bp and a wild-type band at approximately 216 bp.  Wild-type animals should exhibit the 216 bp band only, indicating successful amplification of the tail DNA.