APP Genotyping Protocol with MAPT control

(July 2021)

This protocol can only be used to genotype APP transgenic lines made using the Prp-XhoI transgene vector from Dave Borchelt (ie, tetO-APP102 and APP/PS1).  The reverse primer recognizes Prnp exon 3 contained in the Prp-XhoI backbone, and will not work with other APP lines made using different promoters/transgenic vectors.

| Reagent | Volume/rxn (uL) |
| --- | --- |
| ddH2O | 6.5 |
| 50 (M APP Forward | 0.2 |
| 50 (M APP Reverse | 0.1 |
| 50 (M MAPT Forward (IMR 3092) | 0.1 |
| 50 (M MAPT Reverse (IMR 3093) | 0.1 |
| 2x PCR PreMix (Green Dye) (Syd Labs, MB067-EQ2G-L) | 10 |
| Tail DNA | 3 |

PCR Program: ABI SimpliAmp (Touchdown):

- 94(C for 1 minute

- A. 94(C for 15 seconds

B. 65 (C for 15 seconds

C. 68 (C for 30 seconds

D. Repeat 2A-C for 10 cycles

- A. 94(C for 15 seconds

B. 60(C for 15 seconds

C. 72 (C for 30 seconds

D. Repeat 3A-C for 28 cycles

4.   72(C for 7 minutes

5.   Hold at 10(C

Primer Sequences:

APP Forward (binds APP cds):  CCG AGA TCT CTG AAG TGA AGA TGG ATG

APP Reverse (binds Prnp exon 3 in transgenic vector):  CCA AGC CTA GAC CAC GAG AAT GC

MAPT Forward (IMR 3092):  	CTC AGC ATC CCA CCT GTA AC

MAPT Reverse (IMR 3093):  	CCA GTT GTG TAT GTC CAC CC

Gel Percentage: 2% Agarose gel including 10 uL of 10 mg/mL ethidium bromide (30 min at 175 V in 1X SB)

Ladder: TrackItTM 100 bp Ladder (Invitrogen, Catalog number: 10488058)

Expected Products:  Transgenic animals should produce one band from the APP product at approximately 400 bp.  All animals, transgenic and wild-type, should exhibit the 187 bp band for the internal MAPT control, indicating successful amplification of the tail or toe DNA.